somatosensory evoked potentials in Rabbits depend on short-lasting functional states of the brain M. Eiselt, L. Flemming, F. Gießler, J. Haueisen, U. Zwiener

Stimulation of somatosensory nerves causes characteristic small potentials (SEP) at the cortical surface. We suppose that the characteristics of individual cortical potentials depend on the functional micro state of the brain.

We investigated 8 White New Zealand rabbits using 16-channel ECoG recordings with high spatial resolution. Animals were anaesthetized by continuous infusion of  Ketamin 24-30 mg/kg*h and Xylazin 2.4-3 mg/kg*h.. Skull bone was removed over an area from -5 to 4 mm relativ to the Bregma over the left hemisphere. A 4*4 electrode grid (interelectrode distance 1.25 mm) was placed over the left somatosensory cortex (S1). Direct stimulation of the right medial and tibial nerve was performed (0.2-0.4 mA; interstimulus interval 503 ms; stimulus duration 200 µs; 1000 stimulations). The ECoG was continuously recorded (filtered 0.3-300 Hz), digitized (2 kHz) and stored on disk. SEPs were averaged depending on the background activity. Two states of background activity were distinguished. State 1: ECoG activity in the frequency band 8-14 Hz >30 µV; State 2: ECoG activity in the same frequency band <30 µV.

The SEPs consisted of fast (P1 and N1) and slow components. The latency of the potential P1 depended on the nerve stimulated (medial nerve: 17  2 ms, tibial nerve: 21  3 ms). The potential N1 was recorded at 27  2 ms (medial nerve) and 31  3 ms (tibial nerve), respectively. The maximum of the slow positive potentials appeared at about 100 ms.

State 1 occurred in short (<30 ms) and long duration episodes (190  5) ms and the mean duration of  state 2 was about 850  400 ms. Approximately 17  10 % of the whole recording time were occupied by state 1. There were no significant differences concerning the amplitude and latency of P1 and N1 between state 1 and 2. However, slow potentials were significant only during state 1.

According to our results characteristics of SEPs partially correlates with cortical functional states. Early SEP components seem to be independent from these states but slow positive potentials were only detected if 8-14 Hz cortical oscillations exceeds a threshold.

Inst. Pathophysiol., FSU Jena, 07740 Jena; supported by TMWFK, EU IST-10378